## Mesures
ID | Horodatage (UTC) | Temp. interieure (C) | Humidite interieure (%) | Temp. exterieure (C) | Humidite exterieure (%) | Temp. eau (C) | TDS (ppm) | pH | Niveau d'eau (%) | Jours apres plantation | LED | Mode LED | Pompe | Ventilateur | Decision | Commande actionneur | Severite
1 | 2026-09-07 06:17:47 | 23 | 65 | 18 | 72 | 21 | 800 | 6.1 | 80 | 1 | N/A | N/A | N/A | N/A | Investigate | ANOMALY | investigate
2 | 2026-09-07 06:18:00 | 23 | 65 | 18 | 72 | 21 | 800 | 6.1 | 80 | 1 | N/A | N/A | N/A | N/A | Investigate | ANOMALY | investigate
3 | 2026-09-07 11:57:55 | 23 | 65 | 18 | 72 | 21 | 800 | 0 | 80 | 1 | N/A | N/A | N/A | N/A | Critical | PH | critical
4 | 2026-09-07 11:58:12 | 23 | 65 | 18 | 72 | 21 | 800 | 0 | 80 | 1 | N/A | N/A | N/A | N/A | Critical | PH | critical
5 | 2026-09-07 11:58:28 | 23 | 65 | 18 | 72 | 21 | 800 | 0 | 80 | 1 | N/A | N/A | N/A | N/A | Critical | PH | critical
6 | 2026-09-07 12:12:08 | 23 | 65 | 18 | 72 | 21 | 800 | 0 | 80 | 1 | N/A | N/A | N/A | N/A | Critical | MANUAL_REVIEW | critical
7 | 2026-09-07 12:12:51 | 23 | 65 | 18 | 72 | 21 | 800 | 0 | 80 | 1 | N/A | N/A | N/A | N/A | Critical | MANUAL_REVIEW | critical
8 | 2026-10-10 18:37:35 | 26.1 | 56.7 |  |  | 25 | 0 | 9.7107 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
9 | 2026-10-10 18:42:45 | 25.9 | 56.7 | 26.2 | 57.5 | 25 | 0 | 9.7352 |  | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
10 | 2026-10-10 18:44:32 | 25.9 | 56.7 | 26.1 | 57.7 | 30.75 | 0 | 9.7349 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
11 | 2026-10-10 18:45:03 | 25.9 | 56.7 | 26.1 | 57.5 | 31.25 | 0 | 9.7417 |  | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
12 | 2026-10-10 18:46:50 | 25.9 | 56.6 | 26 | 57.7 | 28.75 | 0 | 9.7358 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
13 | 2026-10-10 18:47:05 | 25.9 | 56.6 | 26 | 57.6 | 28.5 | 0 | 9.7366 |  | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
14 | 2026-10-10 18:48:53 | 25.9 | 56.6 | 25.9 | 58 | 27.25 | 0 | 9.7384 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
15 | 2026-10-10 18:49:08 | 25.8 | 56.7 | 25.9 | 58 | 27.25 | 0 | 9.7411 |  | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
16 | 2026-10-10 18:53:13 | 25.8 | 56.6 | 25.8 | 58 | 26 | 0 | 9.7366 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
17 | 2026-10-10 18:53:28 | 25.8 | 56.7 |  |  | 25.75 | 0 | 9.7389 | 100 | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
18 | 2026-10-10 18:53:43 | 25.8 | 57 | 25.9 | 58.5 | 25.75 | 0 | 9.7365 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
19 | 2026-10-10 18:54:14 | 25.8 | 56.7 | 25.8 | 58.2 | 25.75 | 0 | 9.7357 |  | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
20 | 2026-10-10 18:54:45 | 25.8 | 56.8 | 25.8 | 58.2 | 25.75 | 0 | 9.736 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
21 | 2026-10-10 18:55:00 | 25.8 | 56.8 | 25.8 | 58.3 | 25.5 | 0 | 9.7341 |  | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
22 | 2026-10-10 18:55:15 | 25.8 | 56.6 | 25.8 | 58.3 | 25.5 | 0 | 9.7343 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
23 | 2026-10-10 18:56:17 | 25.9 | 56.9 | 25.9 | 58.4 | 25.5 | 0 | 9.7363 |  | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
24 | 2026-10-10 18:59:36 | 25.8 | 56.7 | 25.8 | 58.4 | 25.25 | 0 | 9.733 | 0 | 34 | ON | auto | ON | ON | Critical | MANUAL_REVIEW | critical
25 | 2026-10-10 18:59:51 | 25.8 | 57 | 25.8 | 58.6 | 25.25 | 0 | 9.7349 |  | 34 | ON | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
26 | 2026-10-10 19:00:07 | 25.8 | 56.9 | 25.8 | 58.5 | 25.25 | 0 | 9.7327 | 0 | 34 | OFF | auto | ON | ON | Critical | MANUAL_REVIEW | critical
27 | 2026-10-10 19:00:22 | 25.8 | 56.9 | 25.8 | 58.4 | 25.25 | 0 | 9.7347 |  | 34 | OFF | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
28 | 2026-10-10 19:01:08 | 25.7 | 56.9 | 25.8 | 58.4 | 25.25 | 0 | 9.7354 | 0 | 34 | OFF | auto | ON | ON | Critical | MANUAL_REVIEW | critical
29 | 2026-10-10 19:01:38 | 25.7 | 56.9 | 25.8 | 58.3 | 25.25 | 0 | 9.7323 |  | 34 | OFF | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
30 | 2026-10-10 19:02:24 | 25.8 | 57 | 25.7 | 58.5 | 25 | 0 | 9.7327 | 0 | 34 | OFF | auto | ON | ON | Critical | MANUAL_REVIEW | critical
31 | 2026-10-10 19:02:39 | 25.7 | 57.1 | 25.7 | 58.6 | 25 | 0 | 9.7327 |  | 34 | OFF | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
32 | 2026-10-10 19:03:41 | 25.7 | 57.1 | 25.7 | 58.6 | 25 | 0 | 9.7341 | 0 | 34 | OFF | auto | ON | ON | Critical | MANUAL_REVIEW | critical
33 | 2026-10-10 19:03:56 | 25.7 | 56.9 | 25.7 | 58.5 | 25 | 0 | 9.7341 |  | 34 | OFF | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
34 | 2026-10-10 19:04:11 | 25.7 | 56.9 | 25.7 | 58.6 | 25 | 0 | 9.7322 | 0 | 34 | OFF | auto | ON | ON | Critical | MANUAL_REVIEW | critical
35 | 2026-10-10 19:04:27 | 25.7 | 57 | 25.7 | 58.5 | 25 | 0 | 9.7381 |  | 34 | OFF | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
36 | 2026-10-10 19:04:42 | 25.7 | 57.1 | 25.7 | 58.6 | 25 | 0 | 9.7328 | 0 | 34 | OFF | auto | ON | ON | Critical | MANUAL_REVIEW | critical
37 | 2026-10-10 19:04:57 | 25.7 | 57 | 25.7 | 58.6 | 25 | 0 | 9.7358 |  | 34 | OFF | auto | ON | ON | Investigate | MANUAL_REVIEW | investigate
38 | 2026-10-10 19:05:28 | 25.7 | 57.1 | 25.7 | 58.7 | 25 | 0 | 9.7363 | 0 | 34 | OFF | auto | ON | ON | Critical | MANUAL_REVIEW | critical
39 | 2026-10-12 00:18:36 | 22 | 65 |  |  | 20 | 800 | 6 |  | 36 | N/A | N/A | N/A | N/A | Investigate | MANUAL_REVIEW | investigate